## Sheet1
Synergy Group
REQUEST FOR QUOTATION
Vendor Name |  | Dan Marine Group Ltd |  | Supply Date | 07/03/2025 |  | Supply Port | KAMSAR - GUINEA
PR Number |  | SPR/BALI/E/25/118 |  | Vessel Name | BALI - GENCO LION |  | Priority | Within 1 month
PR Description |  | AIR CIRCUIT BREAKER (ACB) FOR #3 AE SWITCH BOARD. |  |  |  |  | PR Type | Spare
MACHINERY DETAILS
Machine Name |  | Main Switch Board-SWT3 |  | Model | H2452-3 |  | Address | 306-1, SEONAM-DOG, NAM-GU, ULGAN, KOREA. TEL:82-52-203-8866.
Maker |  | HYUNDAI HEAVY INDUSTRIES CO. LTD. |  | Year Of Mfg.
Serial No |  |  |  | Hull No | 2453
Ship Builder |  | HYUNDAI HEAVY INDUSTRIES CO.IN
SNo | Item Description |  | ItemNo. | ComponentNo./Part No. | Drawing No. | Req Qty. | UOM | Remarks
1 | AIR CIRCUIT BREAKER, (MAKER:HYUNDAI, In=1600A, Icu=50 KA, Uimp=12Kv, Ui=1000, 60 Hz, 450V, Ui=1000V, Ue=600/690V, SET(A):1464, 3 POLES, CAT B, ICS=100%) (OVER CURRENT TRIP: MODEL - APR-IS-AS, Io:1331A, ICT:1600A), CABLE SIZE:T120*7, TERMINAL LUGS:120-12.) |  | P-DG-1 | HiAN-16-MRD | HI-H2452-MM-AS. | 1 | PIECES | AIR CIRCUIT BREAKER, (MAKER:HYUNDAI, In=1600A, Icu=50 KA, Uimp=12Kv, Ui=1000, 60 Hz, 450V, Ui=1000V, Ue=600/690V, SET(A):1464, 3 POLES, CAT B, ICS=100%) (OVER CURRENT TRIP: MODEL - APR-IS-AS, Io:1331A, ICT:1600A), CABLE SIZE:T120*7, TERMINAL LUGS:120-12.)